## Table 1
| Table 1: | Achievement against the Standards from 1 July 2016 to 30 June 2017
Percentages are for population served.
1a | Achievement in All Supplies
3,815,000 people in 661 zones.
|  |  | Population | Percentage | Zones
|  | Bacteriological achievement | 3669000 | 96.2% | 555
|  | Protozoal achievement | 3170000 | 83.1% | 307
|  | Chemical achievement | 3709000 | 97.2% | 633
|  | Overall achievement | 3094000 | 81.1% | 287
1b | Achievement in Large Zones
2,957,000 people in 74 zones, each with over 10,000 people. Serves 78% of the report population.
|  |  | Population | Percentage | Zones
|  | Bacteriological achievement | 2895000 | 97.9% | 70
|  | Protozoal achievement | 2665000 | 90.1% | 61
|  | Chemical achievement | 2894000 | 97.9% | 72
|  | Overall achievement | 2615000 | 88.4% | 60
1c | Achievement in Medium Zones
295,000 people in 41 zones, each with 5001 to 10,000 people. Serves 8% of the report population.
|  |  | Population | Percentage | Zones
|  | Bacteriological achievement | 264000 | 89.3% | 36
|  | Protozoal achievement | 226000 | 76.5% | 31
|  | Chemical achievement | 282000 | 95.4% | 39
|  | Overall achievement | 214000 | 72.5% | 29
1d | Achievement in Minor Zones
487,000 people in 257 zones, each with 501 to 5000 people. Serves 13% of the report population.
|  |  | Population | Percentage | Zones
|  | Bacteriological achievement | 451000 | 92.5% | 229
|  | Protozoal achievement | 254000 | 52.1% | 121
|  | Chemical achievement | 459000 | 94.2% | 239
|  | Overall achievement | 242000 | 49.6% | 113
1e | Achievement in Small Zones
75,600 people in 289 zones, each with 101 to 500 people. Serves 2% of the report population.
|  |  | Population | Percentage | Zones
|  | Bacteriological achievement | 60000 | 79.4% | 220
|  | Protozoal achievement | 25800 | 34.1% | 94
|  | Chemical achievement | 73900 | 97.7% | 283
|  | Overall achievement | 23800 | 31.5% | 85
Population figures are rounded to the nearest thousand (nearest hundred for small zones).

## Tables 2-5
Table 2: | Achievement against the Standards between reporting years
Percentages are for population served.
| Reporting Year: | 2016–2017 | 2015–2016 | Change*
| Report population | 3815000 | 3791000
| Bacteriological achievement | 96.2% | 97.6% | -1.4%
| Protozoal achievement | 83.1% | 82% | 1.1%
| Chemical achievement | 97.2% | 98.4% | -1.2%
| Overall achievement | 81.1% | 80% | 1.1%
Table 3: | Bacteriological achievement against the Standards between reporting years
Percentages are for population served.
| Reporting Year: | 2016–2017 | 2015–2016 | Change*
| Large zones | 97.9% | 99.2% | -1.3%
| Medium zones | 89.3% | 100% | -10.7%
| Minor zones | 92.5% | 89.6% | 2.9%
| Small zones | 79.4% | 77.8% | +1.5%**
| All supplies | 96.2% | 97.6% | -1.4%
Table 4: | Protozoal achievement against the Standards between reporting years
Percentages are for population served.
| Reporting Year: | 2016–2017 | 2015–2016 | Change*
| Large zones | 90.1% | 89.9% | 0.2%
| Medium zones | 76.5% | 67.3% | 9.2%
| Minor zones | 52.1% | 50.7% | +1.3%**
| Small zones | 34.1% | 29.3% | 4.8%
| All supplies | 83.1% | 82% | 1.1%
Table 5: | Chemical achievement against the Standards between reporting years
Percentages are for population served.
| Reporting Year: | 2016–2017 | 2015–2016 | Change*
| Large zones | 97.9% | 99.5% | -1.6%
| Medium zones | 95.4% | 97.9% | -2.5%
| Minor zones | 94.2% | 92.6% | +1.7%**
| Small zones | 97.7% | 98% | -0.4%**
| All supplies | 97.2% | 98.4% | -1.2%
Percentages are rounded to one decimal place.
* A positive change represents an improvement in achievement.
** Values are calculated using full-precision data rather than rounded figures from adjacent columns.
| Supply zone size: Large: Over 10,000 | Medium: 5,001–10,000 | Minor: 501–5,000 | Small: 101–500

## Table 6
Table 6: | Achievement for individual chemicals from 1 July 2016 to 30 June 2017
Percentages are for population
| Chemical | Population | Population | Percent | Zones | Zones
|  | Assigned | Achieved | Achieved | Assigned | Achieved
| Antimony | 1000 | 1000 | 100% | 1 | 1
| Arsenic | 36000 | 26000 | 71.2% | 12 | 2
| Bromodichloromethane | 12000 | 12000 | 100% | 3 | 3
| Copper | 3500 | 1800 | 51.4% | 3 | 1
| Dichloroacetic acid | 10300 | 4900 | 47.2% | 7 | 2
| Fluoride | 2285000 | 2263000 | 99.1% | 123 | 120
| Haloacetic acids | 78000 | 12100 | 15.5% | 14 | 4
| Lead | 28000 | 26000 | 90.5% | 12 | 9
| Manganese | 600 | 600 | 100% | 1 | 1
| Nickel | 1000 | 0 | 0% | 1 | 0
| Nitrate | 39000 | 39000 | 100% | 12 | 12
| Nitrate and nitrite | 3500 | 3500 | 100% | 1 | 1
| Trichloroacetic acid | 7000 | 2200 | 31.7% | 6 | 2
| Trihalomethanes | 87000 | 82000 | 93.7% | 16 | 14
| All chemicals# | 2524000 | 2417000 | 95.8% | 183 | 155
Percentages are rounded to one decimal place.
All values are calculated using full-precision data rather than rounded figures from adjacent columns.
# Some zones, with their contributing plants, will have multiple chemicals assigned, so the ‘all chemical’ row
figures may not equal the sum of rows above.

## Table 7
Table 7: | Water safety plans: all supplies status from 1 July 2016 to 30 June 2017
Percentages are for population served.
3,815,000 people in 661 zones.
|  | Population | Percentage | Zones
| Plan not started | 6800 | 0.2% | 28
| Plan being drafted | 13000 | 0.3% | 38
| Plan submitted | 1200 | 0% | 4
| Plan redrafting# | 28000 | 0.7% | 32
| Plan approved | 36000 | 0.9% | 29
| Plan being implemented | 3731000 | 97.8% | 530
| Meets legislation* | 3731000 | 97.8% | 530
Population figures are rounded to the nearest thousand, or the nearest hundred if less than 10,000.
* Plans for all but small supplies must be being implemented. Most small supplies do not need to have a plan, but are included in this statistic if they are implemented or have voluntarily gained approved status.
# The ‘Plan redrafting’ option does not distinguish between plans being redrafted as part of the submission/re-edit process for first-time approval, and the review process required within 5 years of completion or approval. Nevertheless, the bulk of the population assigned here is for plans that have not met the 5-year review requirement.

## Table 8
Table 8: | Supplies with water safety plan legislative requirements
8a | Water safety plans: large supplies status, 2016–2017
Percentages are for population served.
2,957,000 people in 74 zones, each with over 10,000 people. Serve 78% of the report population.
|  | Population | Percentage | Zones
| Plan not started | 0 | 0% | 0
| Plan being drafted | 0 | 0% | 0
| Plan redrafting | 0 | 0% | 0
| Plan approved | 0 | 0% | 0
| Plan being implemented | 2957000 | 100% | 74
| Meets legislation* | 2957000 | 100% | 74
Population figures are rounded to the nearest thousand.
* Large supplies must have plans being implemented.
8b | Water safety plans: medium supplies status, 2016–2017
Percentages are for population served.
295,000 people in 41 zones, each with 5,001 to 10,000 people. Serve 8% of the report population.
|  | Population | Percentage | Zones
| Plan not started | 0 | 0% | 0
| Plan being drafted | 0 | 0% | 0
| Plan submitted or redrafting | 0 | 0% | 0
| Plan approved | 12000 | 4.1% | 2
| Plan being implemented | 283000 | 95.9% | 39
| Meets legislation* | 283000 | 95.9% | 39
Population figures are rounded to the nearest thousand.
* Medium supplies must have plans being implemented.
8c | Water safety plans: minor supplies status, 2016–2017
Percentages are for population served.
487,000 people in 257 zones, each with 501 to 5,000 people. Serve 13% of the report population.
|  | Population | Percentage | Zones
| Plan not started | 600 | 0.1% | 1
| Plan being drafted | 4500 | 0.9% | 3
| Plan submitted or redrafting | 22000 | 4.5% | 8
| Plan approved | 20000 | 4% | 12
| Plan being implemented | 441000 | 90.5% | 233
| Meets legislation* | 441000 | 90.5% | 233
Population figures are rounded to the nearest thousand.
* Minor supplies must have plans being implemented.

## Table 9
Table 9: | Water safety plans: status between reporting years
Percentages are for reported population served.
Stages referred to are: not started, drafting, submitted, redrafting, approved and being implemented.
| Reporting Year | 2016–2017 |  |  | 2015–2016
|  | Population |  | Percent | Percent | Change*
Drafting or better
| Large supplies | 2957000 |  | 100% | 100% | 0%
| Medium supplies | 295000 |  | 100% | 100% | 0%
| Minor supplies | 487000 |  | 99.9% | 99.6% | +0.2%**
| Small supplies | 69500 |  | 91.8% | 89.2% | 2.7%
| All supplies | 3808000 |  | 99.8% | 99.7% | 0.1%
Approved or being implemented
| Large supplies | 2957000 |  | 100% | 94.6% | 5.4%
| Medium supplies | 295000 |  | 100% | 94.2% | 5.8%
| Minor supplies | 460000 |  | 94.5% | 91.8% | 2.7%
| Small supplies | 53800 |  | 71.1% | 66.1% | +4.9%**
| All supplies | 3766000 |  | 98.7% | 93.6% | 5.1%
Being implemented
| Large supplies | 2957000 |  | 100% | 94.6% | 5.4%
| Medium supplies | 283000 |  | 95.9% | 92% | 3.9%
| Minor supplies | 441000 |  | 90.5% | 86.5% | 4%
| Small supplies | 49400 |  | 65.4% | 58.3% | +7.0%**
| All supplies | 3731000 |  | 97.8% | 92.7% | +5.1%**
Percentages are rounded to one decimal place.
Population figures are rounded to the nearest thousand (nearest hundred for small supplies).
* A positive change represents an improvement in water safety plan status.
** Values are calculated using full-precision data rather than rounded figures from adjacent columns.
| Supply zone size: Large: Over 10,000 | Medium: 5,001–10,000 | Minor: 501–5,000 | Small: 101–500.

## Table 10
Table 10: | Meeting legislative requirements: all supplies
Percentages are for population served.
10a | All supplies, from 1 July 2016 to 30 June 2017
3,815,000 people in 661 zones.
|  | Population | Percentage | Zones
| Monitoring | 3705000 | 97.1% | 590
| Provision of drinking water | 3490000 | 91.5% | 638
| Source protection | 3792000 | 99.4% | 633
| Records | 3809000 | 99.8% | 646
| Complaints | 3810000 | 99.9% | 646
| Remedial action | 3793000 | 99.4% | 634
10b | All supplies, status between reporting years
| Reporting Year | 2016–2017 | 2015–2016 | Change*
| Monitoring | 97.1% | 97.6% | -0.5%
| Provision of drinking water | 91.5% | 97.5% | -6.1%**
| Source protection | 99.4% | 99.5% | -0.1%
| Records | 99.8%# | 100% | -0.1%**
| Complaints | 99.9%# | 100% | -0.1%
| Remedial action | 99.4% | 99.4% | 0%
Population figures are rounded to the nearest thousand.
Percentages are rounded to one decimal place.
* A positive change represents an improvement in legislative compliance.
** Values are calculated using full-precision data rather than rounded figures from adjacent columns.

## Table 11
Table 11: | Meeting legislative requirements, by supply size, 1 July 2016 to 30 June 2017
Percentages are for population served.
11a | Meeting legislative requirements: Large zones
2,957,000 people in 74 zones, each with over 10,000 people. Serve 78% of the report population.
|  | Population | Percentage | Zones
| Monitoring | 2895000 | 97.9% | 70
| Provision of drinking water | 2638000 | 89.2% | 70
| Source protection | 2957000 | 100% | 74
| Records | 2957000 | 100% | 74
| Complaints | 2957000 | 100% | 74
| Remedial action | 2957000 | 100% | 74
11b | Meeting legislative requirements: Medium zones
295,000 people in 41 zones, each with 5.001 to 10,000 people. Serve 8% of the report population.
|  | Population | Percentage | Zones
| Monitoring | 282000 | 95.4% | 39
| Provision of drinking water | 295000 | 100% | 41
| Source protection | 295000 | 100% | 41
| Records | 295000 | 100% | 41
| Complaints | 295000 | 100% | 41
| Remedial action | 289000 | 98% | 40
11c | Meeting legislative requirements: Minor zones
487,000 people in 257 zones, each with 501 to 5,000 people. Serve 13% of the report population.
|  | Population | Percentage | Zones
| Monitoring | 463000 | 95% | 240
| Provision of drinking water | 484000 | 99.4% | 256
| Source protection | 468000 | 96.1% | 248
| Records | 484000 | 99.4% | 256
| Complaints | 484000 | 99.4% | 256
| Remedial action | 475000 | 97.5% | 247
11d | Meeting legislative requirements: Small zones
75,600 people in 289 zones, each with 101 to 500 people. Serve 2% of the report population.
|  | Population | Percentage | Zones
| Monitoring | 65200 | 86.2% | 241
| Provision of drinking water | 72100 | 95.3% | 271
| Source protection | 71700 | 94.8% | 270
| Records# | 72700 | 96.1% | 275
| Complaints | 73000 | 96.6% | 275
| Remedial action | 71500 | 94.5% | 273
Population figures are rounded to the nearest thousand (nearest hundred for small supplies).
# Small suppliers do not have to keep records under section 69ZD(1) of the Act.

## Table 12
Table 12: | Meeting legislative requirements: status between reporting years
Percentages are for population served.
| Reporting Year | 2016–2017 | 2015–2016 | Change*
All supplies
| Monitoring | 97.1% | 97.6% | -0.5%
| Provision of drinking water | 91.5% | 97.5% | -6.1%**
| Source protection | 96.4% | 99.5% | -0.1%
| Records | 99.8% | 100.0%## | -0.1%**
| Complaints | 99.9% | 100.0%## | -0.1%
| Remedial action | 99.4% | 99.4% | 0%
Large supplies
| Monitoring | 97.9% | 99% | -1.1%
| Provision of drinking water | 89.2% | 96.9% | -7.7%
| Source protection | 100% | 100% | 0%
| Records | 100% | 100% | 0%
| Complaints | 100% | 100% | 0%
| Remedial action | 100% | 100% | 0%
Medium supplies
| Monitoring | 95.4% | 97.9% | -2.5%
| Provision of drinking water | 100% | 100% | 0%
| Source protection | 100% | 97.3% | 2.7%
| Records | 100% | 100% | 0%
| Complaints | 100% | 100% | 0%
| Remedial action | 98% | 100% | -2%
Minor supplies
| Monitoring | 95% | 90.8% | +4.3%**
| Provision of drinking water | 99.4% | 100% | -0.6%
| Source protection | 96.1% | 98.4% | -2.3%
| Records | 99.4% | 100% | -0.6%
| Complaints | 99.4% | 100% | -0.6%
| Remedial action | 97.5% | 95.8% | 1.7%
Small supplies
| Monitoring | 86.2% | 84.1 | 2.1%
| Provision of drinking water | 95.3% | 97.8% | -2.5%
| Source protection | 94.8% | 95.8% | -0.9%**
| Records# | 96.1% | 97.9% | -1.8%
| Complaints | 96.6% | 98.4% | -1.8%
| Remedial action | 94.5% | 95.6% | -1.1%
Percentages are shown rounded to one decimal place.
| * | A positive change represents an improvement in legislative compliance.
| ** | Values are calculated using full-precision data rather than rounded figures from adjacent columns.
| # | Small suppliers do not have to keep records under section 69ZD(1) of the Act.
| ## | Equals 100.0% rounded, but does not include all zones.
| Supply zone size: Large: Over 10,000 | Medium: 5,001–10,000 | Minor: 501–5,000 | Small: 101–500.